TeamBuilders Scope Summary - IMG\_9408

Generated: August 31, 2025 at 01:50 AM

# Project Overview

Renovation and finishing of various areas in a residential project, including drywall, plumbing, demolition, and installation of fixtures and appliances.

# Scope Items

**02 Site/Demo - 1700 Dump & Trash Removal**

* Description: Cleanup of trash left by prior contractor.
* Notes: Removal of construction debris

**02 Site/Demo - 1800 Demolition**

* Description: Demolition of existing powder bath wall.
* Location: Powder bath
* Notes: Complete redo of the area

**06 Doors/Windows - 3500 Exterior Doors**

* Description: Installation of double French doors.
* Location: Living room
* Quantity: 1 set
* Notes: Coordination with Low Volt company required

**08 Electrical - 4100 Electrical System**

* Description: Installation and wiring of sconces.
* Location: Not specified
* Quantity: 2 units
* Notes: One already wired, another needs wiring

**09 Plumbing - 4250 Plumbing Fixtures**

* Description: Installation of tankless hot water heater.
* Location: Master bath
* Quantity: 1 unit
* Notes: Specifically for the master bath

**10 Wall/Ceiling Coverings - 5100 Drywall**

* Description: Installation of drywall throughout the project.
* Material: Level five drywall
* Location: Throughout the project
* Quantity: Not specified
* Notes: High-quality finish required

**10 Wall/Ceiling Coverings - 5200 Paint**

* Description: Painting in the bathroom.
* Location: Bathroom
* Quantity: Not specified
* Notes: Limited to painting only

**12 Cabinets/Vanities/Tops - 5680 Built-In Cabinetry**

* Description: Installation of built-in cabinets.
* Location: Living room
* Quantity: Multiple units
* Notes: Includes wet bar, cooktop, double oven, sink, refrigerator

**13 Flooring/Tile - 5800 Flooring**

* Description: Carpet installation in the master bedroom.
* Material: Carpet
* Location: Master bedroom
* Quantity: Room coverage
* Notes: Includes custom cutout for covering an outlet

**14 Specialties - 6000 Closet Shelving**

* Description: Installation of shelving.
* Location: Inside a specific area
* Quantity: Not specified
* Notes: Details not fully specified

**14 Specialties - 6200 Appliances**

* Description: Installation of stackable washer and dryer.
* Location: Laundry area
* Quantity: 1 set
* Notes: Vent for the dryer is currently not connected